**Description:**

Type: BROEN BALLOMAX

Art. No.: 61.103 & 64.103 & 40.316 & 40.325

Pressure: DN 010 to DN 050 = PN 40

DN 065 to DN 500 = PN 25 / 16

Dimension: DN 015 to DN 500

**Configuration:**

Fully welded ball valve with reduced bore and flange/flange connection. Especially designed for use in central heating, heating, cooling and industrial plants. Stem and stop made in stainless steel with double sealings in stuffing box with exchangeable o-rings. The valves are approved according to the directive for pressurized equipment PED 2014/68/EU, Module H. and manufactured according to ISO9001:2008 and ISO14001.

**Technical data:**

Connection: Flange/Flange

Temperature: Continuous 140 °C

Media: Treated water to avoid corrosion/lime formation

House: Steel P235GH (St. 37)

O-rings: EPDM and VITON

Ball: Stainless Steel AISI 304L

Seat packing: Reinforced PTFE 20%C

Operation: DN 010 to DN 100 = Handle

DN 125 to DN 150 = Handle / ISO flange for gear/actuator

DN 200 to DN 500 = ISO flange for gear/actuator

Surface: Environmentally corrosion resistant paint

**Labeling:**

Maker, Dimension, Pressure step, Temperature range, Production month and year.

CE marked.

**Accessories:**

DN015 to DN100 = T-handle in Yellow, Red and/or Blue

DN125 to DN500 = ISO flange for gear/actuator

DN015 to DN025 = Insulations shells